## TABLE 4
Criterion 3 Step 4: Complete Table 4 - ECMs
Click here to view a sample version of this table |  |  | Table 4 Energy Conservation Measures Data
|  |  | Status |  | Energy Data | [5 empty] | Financial Data |  |  |  |  | Reference Data |  | Payback Data
Category/Building Name | Energy Conservation Measure Name | ECM Type (select one from drop-down) | Status (select one from drop-down) | Status Date (Completed with month/year or planned Qtr/year) | Projected Annual Electricity Savings (kWh) | Projected Annual Natural Gas Savings (therms) | Projected Annual Oil Savings (gallons) | Projected Annual Propane Savings (gallons) | Projected Annual Gasoline Savings (gallons) | Projected Annual Diesel Savings (gallons) | Projected Annual Cost Savings ($) | Total Installed Cost ($) | Green Community Grant ($) | Utility Incentives ($) | Net Cost ($) without Green Community funds | Funding Source(s) for Net Costs | Source for Projected Savings | (Simple Payback before Incentive) | (Payback with Incentive)
Blake Middle School | Low-Flow Aerators and Showerheads, Spray Valve | Hot Water | Planned | Summer 2017 |  | 719 |  |  |  |  | 827 | 720 |  | 720 | 0 | N/A | Rise Engineering (Appendix A1) | 0.87062 | 0
Blake Middle School | Exterior LED | Exterior Lighting | Planned | Summer 2017 | 67180 | [5 empty] | 11085 | 35082 |  | 16795 | 18287 | Green Communities Grant | Rise Engineering (Appendix A2) | 3.1648 | 1.6497
Blake Middle School | 200 Side Lighting | Interior Lighting | Planned | Summer 2017 | 64146 | [5 empty] | 10584 | 66114 |  | 16037 | 50077 | Green Communities Grant | Rise Engineering (Appendix A2) | 6.2466 | 4.7314
Blake Middle School | Behavioral Based Measures | Behavioral and Training | Planned | Fall 2017 | 32757.25 | [5 empty] | 3931 | 1000 |  | Pay-for-Performance | 1000 | Green Communities Grant | MAPC (Appendix D1) | 0.25439 | 0.25439
Blake Middle School | EMS | Retrocommission | Planned | Winter 2017 | 2008 | 2754 |  |  |  |  | 3521 | 25000 |  | 3546 | 21454 | Green Communities Grant | Rise Engineering (Appendix A4) | 7.1003 | 6.0932
Blake Middle School | 100-300 Side Lighting | Interior Lighting | Planned | Summer 2018 | 106267 | [5 empty] | 17534 | 98790 |  | 25527 | 73263 | Green Communities Grant | Rise Engineering (Appendix A2) | 5.6342 | 4.1783
Blake Middle School | New DHW Storage | Hot Water | Planned | Summer 2018 |  | 1050 |  |  |  |  | 1202 | 8000 |  | 4000 | 4000 | Green Communities Grant | Rise Engineering (Appendix A1) | 6.6556 | 3.3278
Blake Middle School | Roof Insulation | Weatherization | Planned | Summer 2020 | 1111 | 6212 |  |  |  |  | 7144 | 100000 |  | 50000 | 50000 | Green Communities Grant | Rise Engineering (Appendix A2) | 13.9978 | 6.9989
Council on Aging | COA parking Lights | Exterior Lighting | Active | Fall 2016 | 4508 | [5 empty] | 676.2 | 3000 |  | 1127 | 1873 | Town Budget | Town of Medfield | 4.4366 | 2.7699
Council on Aging | COA Entrance | Weatherization | Active | Fall 2016 |  | 500 |  |  |  |  | 450 | 5500 |  |  | 5500 | Town Budget | Town of Medfield | 12.2222 | 12.2222
Council on Aging | Interior Lighting | Interior Lighting | Active | Fall 2016 | 16749.82 | [5 empty] | 2512.47 | 34570.17 |  | 4187.46 | 30382.71 | Town Budget | AECOM (Appendix B1) | 13.7594 | 12.0928
Dale Street Elementary School | Exterior LED | Exterior Lighting | Planned | Summer 2020 | 2037 | [5 empty] | 336 | 927 |  | 509 | 418 | Green Communities Grant | Rise Engineering (Appendix A3) | 2.7589 | 1.244
Dale Street Elementary School | First Floor Lighting | Interior Lighting | Planned | Summer 2020 | 67373 | [5 empty] | 11117 | 96115 |  | 16843 | 79272 | Green Communities Grant | Rise Engineering (Appendix A3) | 8.6458 | 7.1307
Dale Street Elementary School | Steam traps | HVAC | Planned | Summer 2020 |  | 7710 |  |  |  |  | 8866 | 25000 |  | 12500 | 12500 | Green Communities Grant | Rise Engineering | 2.8198 | 1.4099
Dale Street Elementary School | Low-Flow Aerators and Spray Valve | Hot Water | Planned | Summer 2020 |  | 522 |  |  |  |  | 600 | 414 |  | 414 | 0 | N/A | Rise Engineering (Appendix A4) | 0.69 | 0
Dale Street Elementary School | 2nd Floor Lighting | Interior Lighting | Planned | Summer 2020 | 8889 | [5 empty] | 1467 | 21247 |  | 2222 | 19025 | Green Communities Grant | Rise Engineering (Appendix A3) | 14.4833 | 12.9686
Medfield High School | Exterior LED | Exterior Lighting | Planned | Summer 2017 | 93868 | [5 empty] | 15488 | 47951 |  | 23467 | 24484 | Green Communities Grant | Rise Engineering (Appendix A5) | 3.096 | 1.5808
Medfield High School | Low-Flow Aerators and Showerheads, Spray Valve | Hot Water | Planned | Summer 2017 |  | 1052 |  |  |  |  | 1209 | 1114 |  | 1114 | 0 | N/A | Rise Engineering (Appendix A4) | 0.92142 | 0
Medfield High School | EMS | Retrocommission | Planned | Summer 2017 | 13917 | 2959 |  |  |  |  | 5908 | 50000 |  | 5221 | 44779 | Green Communities Grant | Rise Engineering (Appendix A4) | 8.4631 | 7.5794
Medfield High School | Behavioral Based Measures | Behavioral and Training | Planned | Fall 2017 | 72648.75 | [5 empty] | 8718 | 1000 |  | Pay-for-Performance | 1000 | Green Communities Grant | MAPC (Appendix D1) | 0.11471 | 0.11471
Medfield High School | First Floor Lighting | Interior Lighting | Planned | Summer 2018 | 107857 | [5 empty] | 17796 | 98180 |  | 26964 | 71216 | Green Communities Grant | Rise Engineering (Appendix A5) | 5.517 | 4.0018
Medfield High School | 2nd Flr & LL Lighting | Interior Lighting | Planned | Summer 2019 | 114224 | [5 empty] | 18847 | 95402 |  | 28556 | 66846 | Green Communities Grant | Rise Engineering (Appendix A5) | 5.0619 | 3.5468
Medfield Public Library | MPL Lighting | Interior Lighting | Active | Fall 2016 | 16305 | [5 empty] | 2445.75 | 350 |  |  | 350 | Town Budget | Town of Medfield (Appendix C1) | 0.14311 | 0.14311
Medfield Public Library | Attic Air Sealing | Weatherization | Planned | Winter 2016 | 521 | 381 |  |  |  |  | 380 | 3500 |  | 1750 | 1750 | Town Budget | Rise Engineering (Appendix A7) | 9.2105 | 4.6053
Medfield Public Library | Interior Lighting | Interior Lighting | Planned | Fall 2017 | 41298.14 | [5 empty] | 6194.72 | 90694.51 |  | 10324.54 | 80369.97 | Green Communities Grant | AECOM (Appendix B2) | 14.6406 | 12.9739
Medfield Public Library | EMS | Building Controls Installation | Planned | Fall 2017 | 2605 | 213 |  |  |  |  | 685 | 50000 |  | 9600 | 40400 | Green Communities Grant | Rise Engineering (Appendix A4) | 72.9927 | 58.9781
Medfield Public Library | Low-Flow Aerators | Hot Water | Planned | Fall 2017 | 3984 | [5 empty] | 637 | 88 |  | 0 | 88 | Green Communities Grant | Rise Engineering (Appendix A4) | 0.13815 | 0.13815
Medfield Public Library | Attic Insulation | Weatherization | Planned | Fall 2017 | 73 | 86 |  |  |  |  | 86 | 2500 |  | 0 | 2500 | Green Communities Grant | Rise Engineering (Appendix A7) | 29.0698 | 29.0698
Medfield Public Library | Pipe Insulation | HVAC | Planned | Fall 2017 |  | 46 |  |  |  |  | 46 | 600 |  |  | 600 | Green Communities Grant | Rise Engineering (Appendix A7) | 13.0435 | 13.0435
Medfield Public Library | MPL Exterior Lighting | Exterior Lighting | Planned | Fall 2019 | 5510 | [5 empty] | 827 | 2200 |  | 1377.5 | 822.5 | Green Communities Grant | Town of Medfield (Appendix C1) | 2.6602 | 0.99456
Memorial Elementary School | Exterior LED | Exterior Lighting | Planned | Summer 2017 | 53134 | [5 empty] | 8767 | 29904 |  | 13284 | 16620 | Green Communities Grant | Rise Engineering (Appendix A8) | 3.411 | 1.8957
Memorial Elementary School | Wings 1 & 2 Lighting | Interior Lighting | Planned | Summer 2017 | 61184 | [5 empty] | 10095 | 66267 |  | 15296 | 50971 | Green Communities Grant | Rise Engineering (Appendix A8) | 6.5643 | 5.0491
Memorial Elementary School | Low-Flow Aerators and Spray Valve | Hot Water | Planned | Summer 2017 |  | 539 |  |  |  |  | 620 | 425 |  | 425 | 0 | N/A | Rise Engineering (Appendix A4) | 0.68548 | 0
Memorial Elementary School | EMS | System Upgrade and Retrocommissioning | Planned | Summer 2017 | 6127 | 1520 |  |  |  |  | 2850 | 100000 |  | 9759 | 90241 | Green Communities Grant | Rise Engineering (Appendix A4) | 35.0877 | 31.6635
Memorial Elementary School | Wing 3 Lighting | Interior Lighting | Planned | Summer 2018 | 30133 | [5 empty] | 4972 | 34821 |  | 7533 | 27288 | Green Communities Grant | Rise Engineering (Appendix A8) | 7.0034 | 5.4883
Streetlights | Exterior LED | Exterior Lighting | Planned | Summer 2018 | 63759 | [5 empty] | 35441 | 104864 |  | 16188 | 88676 | Green Communities Grant | Fred Davis Corporation (Appendix E1) | 2.9588 | 2.5021
Town Garage | Garage Controls | Building Control | In Progress | Fall 2016 |  | 33200 |  |  |  |  | 29880 | 0 |  | 0 | 0 | Town Budget | Town of Medfield | 0 | 0
Town Garage | Interior Lighting | Interior Lighting | Planned | Fall 2020 | 27230.63 | [5 empty] | 4084.59 | 122632.68 |  | 6807.66 | 115825.02 | Green Communities Grant | AECOM (Appendix C2) | 30.0233 | 28.3566
Town Hall | Interior Lighting | Interior Lighting | Active | Fall 2016 | 18174 | [5 empty] | 2726.1 | 400 |  |  | 400 | Town Budget | Town of Medfield (Appendix C2) | 0.14673 | 0.14673
Town Hall | TH Parking Lights | Exterior Lighting | Planned | Fall 2017 | 15972 | [5 empty] | 1916 | 5670 |  | 3993 | 1677 | Town Budget | Town of Medfield (Appendix C3) | 2.9593 | 0.87526
Town Hall | Low-Flow Aerators | Hot Water | Planned | Fall 2017 | 5976 | [5 empty] | 956 | 132 |  | 0 | 132 | Green Communities Grant | Rise Engineering (Appendix A4) | 0.13808 | 0.13808
Town Hall | EMS | Retrocommission | Planned | Winter 2017 | 3212 | 212 |  |  |  |  | 758 | 15000 |  | 640 | 14360 | Green Communities Grant | Rise Engineering (Appendix A4) | 19.7889 | 18.9446
Vehicles | Anti-Idling Policy | Vehicles | Planned | Fall 2017 |  |  |  |  | 1000 | 1000 | 3500 |  |  |  | 0 | N/A | Town of Medfield | 0 | 0
Vehicles | Fleet Management Strategies | Vehicles | Planned | Fall 2017 |  |  |  |  | 2380 | 3140 | TBD | TBD |  | 0 | TBD | Green Communities Grant | MAPC (Appendix D2) | TBD | TBD
Wheelock Elementary School | New Boilers (2) | HVAC | Complete | Summer 2016 |  | 4836 |  |  |  |  | 4352.4 | End-of-life replacement |  | School Building Authority Grant | End-of-life replacement | Town Budget | Town of Medfield
Wheelock Elementary School | Exterior LED | Exterior Lighting | Planned | Summer 2017 | 5366 | [5 empty] | 885 | 7383 |  | 1342 | 6041 | Green Communities Grant | Rise Engineering (Appendix A9) | 8.3424 | 6.826
Wheelock Elementary School | First Floor Lighting | Interior Lighting | Planned | Summer 2017 | 41874 | [5 empty] | 6909 | 92453 |  | 10469 | 81984 | Green Communities Grant | Rise Engineering (Appendix A9) | 13.3815 | 11.8663
Wheelock Elementary School | 2nd Floor Lighting | Interior Lighting | Planned | Summer 2018 | 27242 | [5 empty] | 4495 | 66347 |  | 6811 | 59536 | Green Communities Grant | Rise Engineering (Appendix A9) | 14.7602 | 13.2449
Wheelock Elementary School | Low-Flow Aerators and Spray Valve | Hot Water | Planned | Summer 2018 |  | 454 |  |  |  |  | 522 | 370 |  | 370 | 0 | N/A | Rise Engineering (Appendix A4) | 0.70881 | 0
To insert additional rows, select this row, right-click, and select "Insert."
|  |  |  | TOTAL Projected Savings | 1205220.59 | 64965 | 0 | 0 | 3380 | 4140 | 284849.23 | 1611727.36 | YR 1: $148,000 (Following Years up to $250,000 each yr) | 355719.16 | 1256008.2
TOTAL MMBtu SAVINGS |  |  | 11603.2927 |  | 4112.2127 | 6496.5 | 0 | 0 | 419.12 | 575.46